1975 Glen Lake Goffstown C-196?

Re Public Service Company of New Hampshire
DE 75-106, Order No. 11,856
60 NH PUC 413
New Hampshire Public Utilities Commission
June 6, 1975
LICENSE granted an electric company to reconstruct transmission lines.
----------
ELECTRICITY, § 7 — Authorization for transmission lines — Reconstruction — Public waters.
[N.H.] An electric company was directed to redesign its transmission line crossings over
public waters so as to increase the height of the lines.
----------
BY THE COMMISSION:
Order

WHEREAS, by petition filed May 1, 1975, Public Service Company of New Hampshire
seeks a license pursuant to RSA 371:17-20 to reconstruct and maintain two electric transmission
lines over and across Glen Lake in the Town of Goffstown, New Hampshire; and

WHEREAS, the petition represents that in order to meet the reasonable requirements of
service to the public, it is necessary for the company to reconstruct two parallel 115 KV electric
transmission lines of wires and cables over and across Glen Lake in the Town of Goffstown,
New Hampshire, which are part of its 115KV system connecting the Greggs Substation in
Goffstown and the Merrimack Substation in Bow; and

WHEREAS, the petition has redesigned the crossings at the request of the Department of
Safety Services of the State of New Hampshire and proposes to reconstruct the crossings to
increase the height of the lines over the surface of the water; and

WHEREAS, the locations of the crossings are approximately 340 feet and 420 feet,
respectively, westerly of the Greggs Substation in Goffstown as shown on plans filed with the
Public Utilities Commission; and

WHEREAS, following due notice no interested parties recorded any objections to the
proposed reconstruction and upon investigation of all the facts before the Commission, it is
found that the proposed reconstruction is necessary to meet the reasonable requirements of the
public and that the license sought may be issued and exercised by the petitioner without
substantially affecting the public rights and waters crossed; it is

ORDERED, that a license be, and hereby is, granted to Public Service Company of New
Hampshire to reconstruct and maintain two electric transmission lines over and across Glen Lake
in the Town of Goffstown, in accordance with the specifications as to location, type of
construction and clearances as set forth in Exhibits 1, 2, and 3 on file with this Commission.
By order of the Public Utilities Commission of New Hampshire this sixth day of June, 1975